STM32 ENVIRONMENT MONITORING CONTROLLER

STM 32 HARDWARE INTERFACE

| Module | Interface | STM32 Peripheral |
| --- | --- | --- |
| Temperature Sensor | I2C | I2C1 |
| Humidity Sensor | I2C | I2C1 |
| Air Quality Sensor | ADC | ADC1 |
| Dust Sensor | ADC | ADC1 |
| Noise Sensor | ADC | ADC1 |
| Gas Sensor | ADC / Digital | ADC1 / GPIO |
| Relay Outputs | GPIO | GPIO |

STM32 GPIO PIN ALLOCATION

| GPIO Pin | Module / Component | STM32 Peripheral | Purpose / Description |
| --- | --- | --- | --- |
| PA0 | Air Quality Sensor | ADC1_IN0 | Analog voltage input for pollution monitoring |
| PA1 | Dust Sensor | ADC1_IN1 | Analog voltage input for particulate matter (PM) concentration |
| PA2 | Noise Sensor | ADC1_IN2 | Analog voltage input for decibel level tracking |
| PB6 | Temp / Humidity Sensor | I2C1_SCL | I2C Serial Clock (Shared Bus) |
| PB7 | Temp / Humidity Sensor | I2C1_SDA | I2C Serial Data (Shared Bus) |
| PC0 | Gas Sensor | ADC1_IN10 / GPIO | Analog concentration reading or digital threshold trigger |
| PC1 | Relay Module | GPIO_Output | Active-high/low control signal for the Exhaust Fan |
| PC2 | Relay Module | GPIO_Output | Active-high/low control signal for the Alarm system |
| PC3 | Buzzer | GPIO_Output / PWM | Audio alert trigger for abnormal threshold conditions |
| PC4 | Status LED | GPIO_Output | Visual indicator for system status (Normal/Warning) |