STM32 ENVIRONMENT MONITORING CONTROLLER

STM32 PLANNING DOCUMENT

1.PROJECT OBJECTIVE

The objective of this project is to design an STM32-based environment monitoring controller that continuously monitors environmental parameters and automatically controls safety devices based on sensor values.

i) The system monitors:

- Temperature

- Humidity

- Air quality

- Dust level

- Noise level

- Smoke/Gas status

ii) Based on the sensor readings, the STM32 controller activates:

- Exhaust fan relay

- Alarm relay

- Buzzer

- Status LED

2. System Overview

- The STM32 microcontroller acts as the main processing unit.

- The sensors collect environmental data and send it to the STM32 through ADC, I2C, and GPIO interfaces.

- The controller processes the data and compares it with predefined threshold values.

- If abnormal conditions are detected, the controller activates alert devices and ventilation control.

3. HARDWARE COMPONENTS

| Component | Purpose |
| --- | --- |
| STM32 Microcontroller | Main controller and processing unit |
| Temperature Sensor | Measures temperature |
| Humidity Sensor | Measures humidity level |
| Air Quality Sensor | Detects air pollution level |
| Dust Sensor | Measures dust concentration |
| Noise Sensor | Measures sound intensity |
| Gas/Smoke Sensor | Detects harmful gases |
| Relay Module | Controls fan and alarm |
| Buzzer | Audio alert |
| LED | Status indication |

4. Software Architecture

Firmware modules:

- main.c

- Main program execution

- Sensor reading and control logic

- ADC Driver

- Reads analog sensors

- I2C Driver

- Communicates with temperature and humidity sensors

- GPIO Driver

- Controls relay, buzzer and LED

5. Alert Logic

The alert system is activated when any unsafe condition occurs.

Conditions:

- Gas/smoke detected

- Poor air quality detected

- Dust level exceeds limit

- Noise level exceeds limit

Actions:

- Alarm relay ON

- Buzzer ON

- Status LED ON

- Exhaust fan ON

6. Fan Control Logic

The exhaust fan is controlled automatically.

Fan ON condition:

- Air quality value exceeds threshold

- Dust level exceeds threshold

- Gas detected

Fan OFF condition:

- Environmental parameters return to safe limits

7. Testing

Testing steps:

- Compile firmware in STM32CubeIDE

- Check for build errors

- Test sensor input values

- Verify relay and alert output operation